## Sheet1
TAG | DESCRIPTION | MODEL | NOTES
WF-1 | WATER FILTRATION | TRIPLE CLEAR WATER SOLUTIONS TC-UC-10 | 2 GPM POINT OF USE FILTER CAPABLE OF REMOVING 99.9999% LEGIONELLA